STANDARD OPERATING PROCEDURE

XYLENE

Annual Review Date:

Principal Investigator:					Phone number:

Room & Building:

Emergency Contact Information:

I have read and understand the SOP:

Name:					Signature:					Date:

Before working with xylene, the lab worker must have the approval of the PI who shall provide specific training according to this SOP and in understanding the specific MSDS provided by the manufacturer.  The lab worker must complete UH lab safety training prior to working with any chemicals.  The lab worker should sign this SOP as documentation that he/she understands the hazards and has been trained in how to work with xylene safely.

Xylene is a colorless liquid with an aromatic odor.  It is flammable and volatile, a suspected reproductive toxin, and should be limited to work in a chemical fume hood.

1. INFORMATION ABOUT XYLENE AND PROCEDURES USING XYLENE

CAS#1330-20-7

The xylene in commercial use is composed of a mixture of the three isomers ortho-xylene, meta-xylene, and para-xylene.  It is commonly used as a clearing agent in tissue processing/histology methods.

2. HAZARDOUS PROPERTIES, POTENTIAL ROUTES OF EXPOSURE, SYMPTOMS OF EXPOSURE

Xylene may irritate eyes, nose and respiratory tract.  It can be absorbed through the skin and cause dermatitis.  At high concentrations, it is narcotic.

Acute Effects:

Symptoms can lead to dermatitis, dizziness, incoherency, nausea, vomiting, and abdominal pain.  Eye contact may result in redness, watering and itching.

Routes of Exposure

Skin or eye contact, ingestion or inhalation.

Chronic Effects:

Chronic exposure by inhalation or skin contact may result in liver or kidney damage, central nervous system disorders, blood disorders and GI tract disorders.  Repeated or prolonged exposure to the substance can produce target organs damage.

Cancer Hazard:

Not listed as a carcinogen.

Reproductive Hazard:

Information not available for human reproductive effects.  Inhalation and oral administration of xylene in laboratory animals showed decreased fetal weight, delayed bone development, skeletal variations and missed abortions.

3. PERSONAL PROTECTIVE EQUIPMENT

- Use of Cobra, or Viton gloves are recommended when handling xylene (confirm glove type and use limitations by referring to the Glove Compatibility and Use Guide - contact EHSO).

- Safety glasses with side shields or chemical splash goggles shall be worn.

- A laboratory coat should be worn when working with chemicals.

- Closed toe shoes are required when working in the laboratory.

- Use NIOSH/MSHA approved respirators when vapors or mist concentrations exceed PEL or if chemical fume hood is not available or accessible.

4. ENGINEERING/VENTILATION CONTROLS

- Work with xylene in a properly operating and certified chemical fume hood.

- Work at least 6” inside the hood, never place your head in the hood, set the sash at the lowest position possible (if using the horizontal sliding sashes do not open past the labeled positions).

- Safety shower and eye wash stations should be easily accessible where xylene is used.

5. SPECIAL HANDLING PROCEDURES AND STORAGE REQUIREMENTS

- Keep container tightly closed to prevent agent from subliming and entering the atmosphere.

- When opening container, slowly relieve any pressure.  Ground all equipment when transferring since this chemical can accumulate static charge by flow or agitation.

- Only non-sparking tools may be used to handle xylene.

- Store in a cool and dry area away from incompatible substances (i.e. oxidizing agents, strong acids).

- Store xylene in a flammable liquid storage cabinet.

- Wash hands thoroughly after handling xylene (even if gloves were used).

- Remove contaminated clothing/PPE and wash before reuse.

- Keep away from heat, sparks, flames, sources of ignition (including empty containers that will retain product residue).

- Transport chemicals in closed containers, in the smallest amounts possible, and use aids such as carts, chemical transport carriers, etc.

- It is highly recommended that all chemicals be stored below eye level so cracking or leaking containers are immediately visible and there is less potential for chemicals falling onto lab workers when pulling from shelves.

6. PROCEDURES ****Modify this section to reflect your lab specific procedures!

- Bench covers should be disposed via EHSO upon contamination from spilling or after usage.

- Handling Xylene

  - Wear appropriate PPE (gloves, eye protection, lab coats).

  - Work in a chemical fume hood or well ventilated area.

  - Change gloves after handling xylene.

7. SPILL AND ACCIDENT PROCEDURES

- Do not attempt cleanup if you feel unsure of your ability to do so or if you perceive the risk to be greater than normal laboratory operators.

- In the event of skin contact, immediately wash with mild soap and copious amounts of water and remove contaminated clothing.  Cover contaminated skin with an anti-bacterial cream.  Seek medical attention.

- In case of contact with eyes, immediately flush eyes with copious amounts of water for at least 15 minutes (lifting upper and lower eyelids occasionally) and obtain medical attention.

- If inhaled, move to fresh air immediately and seek medical attention.  If victim is not breathing, perform CPR.

- In the event of ingestion, obtain medical attention immediately.  Do not induce vomiting unless directed to do so by medical personnel.  If xylene or a solution containing xylene was ingested, give the victim several glasses of water to drink.

- Report all incidents or near misses to JABSOM EHSO and complete the appropriate Incident Forms.

Small spills:

Don appropriate PPE (respiratory protection, skin/eye protection).  Extinguish possible sources of ignition.  Evacuate all unprotected personnel and ventilate area.  Absorb with an inert material and dispose of spilled material into appropriate waste container.

Large spills:

Notify others in room of spill.  Evacuate room/immediate area.  Call Campus Security at X66911 and notify EHSO.  Keep away from heat or sources or ignition.  Stop leak if without risk.  Absorb with DRY earth, sand or other noncombustible material.  Post warning signs at entrances/exits notifying others of spill. Prevent unnecessary entry into area. Provide assistance and information to spill responders.

Report all spills (minor and major) and any near misses to JABSOM EHSO.

8. WASTE DISPOSAL PROCEDURES

Xylene is classified as a Class 3 Flammable liquid.  Xylene and all waste material containing xylene must be placed in a glass container labeled with the following “Xylene Hazardous Waste” and properly disposed of through EHSO.

9. MSDS LOCATION ****Where is this located, as an attachment to the SOP, in the MSDS folder, etc?  Must have an MSDS, preferably manufacturer specific, specific for each type of xylene used (per CAS#).

References: Information contained in this SOP was gathered from the following sources: Ohio State University, University of Washington, Wake Forest University, OSHA, Americhem Sales Corporation MSDS, Science Lab.com MSDS, Fisher Scientific (MSDS).